# Understanding the Provided Documents

MT 3K04

Contents

To-Do	2

Questions/Concerns	2

Topics Covered	2

Doc1: Tutorial1.1	3

Apparent Purpose	3

Key Content	3

# Doc1: Tutorial1.1

## Apparent Purpose

To explain what an embedded system is, in relation to the Pacemaker Project

To give a high level understanding of what you’re doing

## Key Content

Intro to Embedded Systems

The pacemaker is an embedded system.

Software: In the context of the pacemaker system, the embedded computer is the pulse generator

  - Pacemaker software implements bradycardia operating modes (unsure what this means at this point)

User Interface: Device Controller-Monitor (DCM) includes a remote graphical user interface (GUI) that allows the user to receive data from the pacemaker device and, given that the pacemaker is programmable, transmit a new set of instructions to alter the behaviour of the pacemaker device.

Input variables: represent physical connection between pacemaker leads and the Cardiac Conduction System (CCS) that allows the pulse generator to sense the electrical activity of the heart.

Output Variables: represent physical connection between pacemaker leads and the Cardiac Conduction System (CCS) that allows the pulse generator to send electric stimuli to the heart.

MCU and Peripherals: Packemaker system is based on an MCU called FRDM-K64F. see link1 and link2

Timers: needed to time the pacemaker lol

Serial Comms: Used for the DCM, to be explored later

K64F Pinout:

Additional Peripherals:  K64F has an accelerometer that’s supposed to measure a person’s physical activity level

Driver Circuit:

  - Driver circuit controls other electric components, and connected to GPIO

  - Driver circuit we’re using is called pacemaker shield, see pacemaker shield doc for explanation on what it does

- Intro to the Pacemaker Project

Goal: Design and implement system that operates a cardiac pacemaker under the specified modes

Scope: Design and implement the embedded pacemaker software, the driver software, and the user interface for the DCM

  - Also required to verify and document your software

Deliverables

  - MATLAB Simulink® model implementing the pacemaker operating modes

  - DCM software

  - Technical Documentation

  - Live demonstration

# Doc1: Tutorial1.2

## Apparent Purpose

Explaining required software

## Key Content

Install stuff

May need to update board firmware if it doesn’t flash or has some bootloader error